## Feuil1 (hidden)
Informations
Situation | ICU Beds | 60
| % ICU stays requiring clinical nutrition therapy | 50%
| EN & PN pumps active in ICU | 30
|  |  | Current Situation | Nutrow | Feedim | Potential gains (EUR)
Volume collection time | Volume follow-up during the night | Y/N
| Shift impact | Y/N
| Time necessary to record volume per pump (min) | 1
| Interval to check the pump volumes (hours) | 24
| Total time per day (min) | 30
| Total time per year (hour) | 182.5 | 182.5
| Nurse hourly cost | 22.1875
4049.2188
Prescription time | Time for prescription per patient (min) | 3
| Time for prescription per year (hour) | 109.5 | 109.5
| Doctor hourly cost | 44.375
N/A
Calculation time | Time for calculations per patient (min) | 5
| Time for calculations per day (min) | 210
| Total calculation time per year (hour) | 1277.5 | 1277.5
| Calculator hourly cost | 20
25550
Error | Error % | 10%
| Error Cost | Untangible
Untangible
LOS Impact | LOS avg. (days) | 7
| LOS decrease thanks to better nutritionnal follow-up | 1%
| LOS avg. w/Nutrow (days) | 6.93
| ICU cost per admission day | 1500
| % Occupancy rate | 70%
| Total yearly stays | 2190
| % ICU stays requiring clinical nutrition therapy | 50%
-114975
Malnutrition | % patients identified with malnutrition | 10%
| % Actually malnourished | 20%
| Average additional amount for malnutrition (Eur) | 200
43800
Other Clinical Outcomes
[7 empty] | 158775 | 31.0714 | 15.5357
Value Creation
| Features | Value points |  |  |  | Customer Perceived Value (1 low - 5 high) | Value Monetization | Weighted Gain
Nutrow | Goals Definition | Standardization |  |  |  | 1 | 0
| Prescription Support | Time gained |  |  |  | 1 | 0
| Calculations & visualization | Time gained |  |  |  | 3 | 25550
| Follow-up | Clinical outcomes (LOS, morbidity) |  |  |  | 4
| X-team tool | Time gained/communication |  |  |  | 3
| Charts and reports | Analytical |  |  |  | 2
| Malnutrition identification | Money gained |  |  |  | ?
| Accreditation | Traceability
| Readmission rate | Clinical outcomes
| Lab data integration | Support to decision-making
| Monitor nurse procedures and measurements | Standardization
| Continuum with other departments | Individual Follow-up
| Report to PDMS | Traceability
Homecare ready
| Inter-hospital tool | Individual Follow-up
Feedim | Data Collection | Time gained for nurses |  |  |  | 2 | 4049.2188
| Error Reduction | Accuracy |  |  |  | ?

## Value - Hospital (hidden)
|  |  | Source | [10 empty] | Source
Hospital situation | Beds | 925 | CHU Ulg | [10 empty] | https://www.chuliege.be/jcms/c2_17231220/fr/le-chu-de-liege-en-quelques-chiffres
| Inpatient admissions per year | 10000 | CHU Ulg
| Average cost per hospitalized day (EUR) | 400
| Average LOS | 4 | Belgium average | [10 empty] | https://ec.europa.eu/eurostat/statistics-explained/index.php?title=Hospital_discharges_and_length_of_stay_statistics
| Total hospitalized days per year | 40000
Malnutrition | Prevalence of malnutrition | 20% | between 20% and 50% | [10 empty] | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3084475/
| Malnutrition impact on LOS | 15% | conservative figure |  |  |  | Major Problem(s) | 1. Cost and consequences assosicated with malnutrition | [5 empty] | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3084475/
| Average LOS well-nourished (wLOS) | 3.8636 | [5 empty] | 2. Global nutrition compliance
| Average LOS malnourished (mLOS) | 4.5455
| Well-nourished patients | 8000 |  |  |  | The cost of the problems
| Malnourished patients | 2000
| Well-nourished hospitalized days | 30909.0909 |  |  |  | Control |  | Malnourished |  |  | Diff.
| Malnourished hospitalized days | 9090.9091
| Maximum days saved if malnourished burden was fully alleviated | 1363.6364 |  |  |  | Results | Results | Associated Costs
| Cost of extra days due to malnutrition (EUR) | 545454.5455 | [5 empty] | Min | Max | -5
|  |  |  | Clinical Outcomes | LOS | 10 | 15 |  |  | -0.06
Readmission
NST Reach | % of Screened patients | 90% | Ask the hospital |  | Complications
| % of at risk of malnutrition patients | 40% | Twice the malnourished people |  | TOTAL
| At risk patients on nutrition support | 90% | Ask the hospital
| Total patients followed up under nutrition support | 3240 |  |  |  | Solutions : | Reduce the burdens of malnutrition by |  | 1. Implement SOP for nutrition interventions
2. Provide means (incl. tools) to apply SOP
NST Effect | Effect of Nutrition support on LOS | -13.9% | 13.9 ± 6.6% according to a random effects meta-analysis of 12 studies involving patients with malnutrition. Marinos Elia. The cost of malnutrition in England and potential cost savings from nutritional interventions (full report). NIHR Southampton.
| Actual days avoided | -2047.0909 |  |  |  | The benefits of the solution
| Actual cost savings - LOS (EUR) | -818836.3636
[7 empty] | Control | With software and/or nutrition-focused program |  |  | Diff.
Readmissions | Current readmission rate at 10 days | 7% | 15% of acute beds in Belgium are within 30 days readmissions |  |  |  | Results | Results |  |  |  | Associated Costs | Reference | https://gcm.rmnet.be/clients/rmnet/content/medias/715114f_antares_etude_2019.pdf
| Current yearly readmissions at 10 days | 700 |  |  | Clinical | % Nutrition Goals | 78% | 91% |  |  | 13% | ?
| Potential readmission at 10 days rate with NS | 5% | ONS reduced (re)admissions from 33.8% to 23.9% with a number needed to treat of 10. |  | Financial | LOS | [7 empty] | https://www.sciencedirect.com/science/article/pii/S1568163713000627?via%3Dihub
| Total potential readmissions with NS | 500 |  |  | Financial | Readmission | 36% | 30%
| Net avoided readmission at 10 days | 200 |  |  |  | Complications
| Readmission cost per stay (EUR) | 1600
| Avoided readmission cost saving (EUR) | 320000
| Non funded cost (18% in Belgium if within 10 days) (EUR) | 57600
[5 empty] | Workload | Time spent per patient per day (min) - prescription - documentation - calculation | 9.7 | 3.2 |  |  | -6.5
Workload | Time spent per patient per day (min) without software - prescription - documentation - calculation | 9.7
| Dieticians FTE required to check patients 3 times per admission | 1.2102
| Time Time spent per patient per day (min) with CDS software | 3.2 |  |  |  |  | 10.8 | [6 empty] | 18.75 | 112.5
| Time saved with CDS software per patient per day (min) | -6.5 | [12 empty] | 562.5
| Total time saved yearly (working days) | -43.875
| FTE | -0.1681
| FTE Cost (Dietician, EUR) | 50000
| FTE Cost Saving | -8405.1724
[5 empty] | Financial | Coding
Errors | prescription error (per 1000 patient days) | 142 | chiffres généraux - erreurs globales de prescription | [10 empty] | https://www.ncbi.nlm.nih.gov/pubmed/10428004
| Cost of an error | 100
| % of avoided error with CDS software | -86%
| Prescription error with CDS | 19.88
DRG Coding | Average additional budget per malnutrition day (EUR) | 20 | [11 empty] | https://www.ncbi.nlm.nih.gov/pubmed/23731960 |  | https://www.ncbi.nlm.nih.gov/pubmed/26688128
| % of malnutrition days Coded | 80%
| Malnourished hospitalized days - Coded | 7272.7273
| Malnourished hospitalized days - Uncoded | 1818.1818
| Missed additionnal budget (EUR) | 36363.6364
|  | Cost Savings | New revenues
Total value created | LOS - Cost saving (EUR) | -818836.3636
| Readmission at 10 days - cost savings | -57600
| FTE - cost Saving | -8405.1724
| Missed additionnal budget (EUR) |  | 36363.6364
| Total (EUR) | -884841.5361 | 36363.6364
Note on C35: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Attention: ce n'est une économie nette pour l'hopital car ce nouveau séjour sera quand même financé (mais est il financé de la même façon ?)
Note on C39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assuming 3 visits per patients with 15min in total per visit
Note on C52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Il faudrait plusieurs sources

## Value -Homecare (hidden)
Cost Savings - Homecare Provider Perspective
Hypotheses:
Less unnecessary visits (EUR/365 follow-up days) | #Technical visits per 365 days | 2
| Average time/visit (ride incl.) (hours) | 2
| Avg technician hourly cost (EUR) | 100
| Total cost/visit: 200 | 200
| % visits avoided thanks to Feedim | 20%
| Potential cost saving per 365 days | 80
Save time during visit (EUR/365 follow-up days) | Time saved during on-site visits thanks to Feedim information received upfront (min) | 10
| Avg technician hourly cost (EUR) | 100
| Time saved per 365 days (min) | 20 | Calculation does not include administrative and communication costs
| Potential cost saving 365 days (EUR) | 33.3333
Waste | Products not consumed per 365 days | 10%
| Nutrition products costs per day (EUR) | 3
| Optimization of delivered quantities could reduce waste | 50%
| Potential cost saving per year and per patient | 54.75
-
33 EUR
| #Technical visits per 365 day | 2
| technical visits do require pump replacement and pump refurbishing | 50%
Refurbishing cost includes: Administrative paperwork for return, shipment or transportation, decontamination, diagnosis of failure, functional tests and quality control.
Refurbishing cost does not include spare parts.
| Estimated cost of pump refurbishing (EUR) | 150
Estimated pumps that could be fixed on-site: 25%.
Potential cost saving per year: 37,5 EUR
Note on C24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypotheses: - #Technical visits per 365 days: 2 - Average time/visit (ride incl.): 2 hours - Avg technician hourly cost (EUR):100 - Total cost/visit: 200 - % visits avoided thanks to Feedim: 20% - Potential cost saving per year per patient: 80 EUR
Note on C25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypotheses: - #Technical visits per 365 days: 2 - 10 minutes saved during on-site visits thanks to Feedim information received upfront. - Avg technician hourly cost (EUR):100 - 20 minutes saved per patient per year - Calculation does not include administrative and communication costs - Potential cost saving per year per patient: 33 EUR
Note on C26: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypotheses: - 10% of products are not consumed or 36 days wasted per year - Nutrition products costs approximately 3 EUR per day - Optimization of delivered quantities could reduce waste by 50% - Potential cost saving per year and per patient: 54 EUR Note: In certain countries, according local rules, products delivered at home are considered as biological wastes and must be managed as such.
Note on C27: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hypotheses: - #Technical visits per 365 days: 2 - 50% of technical visits do require pump replacement and pump refurbishing - Refurbishing cost includes: Administrative paperwork for return, shipment or transportation, decontamination, diagnosis of failure, functional tests and quality control. - Refurbishing cost does not include spare parts. - Estimated cost of pump refurbishing: min. 150 EUR - Estimated pumps that could be fixed on-site: 25%. - Potential cost saving per year: 37,5 EUR

## ROI tool
Nutrow ROI Tool
| Instructions: | Modify the yellow cells only
Key Assumptions
Hospital Inputs
| Hospital Stay |  |  |  | Malnutrition |  |  |  | HCP
| Inpatient admissions per year |  |  | 43000 | Prevalence of at risk of malnutrition (%) |  |  | 30% | Available FTE for NS | 9
| Average Length of Stay (days) |  |  | 5 | Prevalence of malnourished patients (%) |  |  | 25% | Average cost per FTE | 65000
| Average cost per hospitalized day (EUR) |  |  | 600 |  |  |  |  | Working days (annualy) | 200
[9 empty] | Hours per working day for NS | 6
| Readmission (only if applicable) |  |  |  | ICD10/DRG coding (only if applicable) |  |  |  | Desired reach of NS
| Current readmission rate at 10 days 5 |  |  | 3% | Malnutrition codes actually documented |  |  | 15% | Patients screened | 100%
[5 empty] | Additional revenue per day (EUR) |  |  | 40 | Targeted patients for NS | Malnourished only
[9 empty] | % of targeted patients on nutrition support | 100%
[9 empty] | Desired NS visits during a hospital stay | 3
[9 empty] | NS visits per day per FTE | 12
Fixed Assumptions
| Effect of individualized nutritional support | [7 empty] | Impact of Malnutrition
| Decreased LOS with NS |  |  | -3% | 1 |  |  |  | Increase on LOS | 15% | 2
| Readmission at 10 days rate with NS |  |  | 2.4% | 3
| Workload without Nutrow | [7 empty] | Workload with Nutrow
| Time spent on patient's file per visit (min) |  |  | 9.7 | 4 |  |  |  | Decrease patient's file management | -20% | 4
[9 empty] | Time spent per patient's file per visit (min) | 7.76 | 4
Output
| Cost Savings | Shorthen LOS (EUR) | 967500
|  | FTE (EUR) | 0
|  | Non financed readmissions (EUR) | 139320
| New revenues | Additionnal DRG revenues (EUR) | 2059154.9296
| Total value created (EUR) | 3165974.9296
Calculations (For Information Only)
| Hospital situation | [6 empty] | Effect of NST
| Total hospital days per year |  |  |  |  | 215000 |  | Actual days avoided with NS |  | -1612.5
| Well-nourished patients |  |  |  |  | 32250 |  | Actual cost savings on LOS (EUR) |  | -967500
| Malnourished patients |  |  |  |  | 10750 |  | Readmission (only if applicable)
| Average LOS well-nourished (wLOS) |  |  |  |  | 4.7887 |  | Current yearly readmissions at 10 days |  | 1290
| Average LOS malnourished (mLOS) |  |  | for |  | 5.6338 |  | Total potential readmissions with NS |  | 1032
| Well-nourished hospital days |  |  |  |  | 154436.6197 |  | Net avoided readmission at 10 days |  | 258
| Malnourished hospital days |  |  |  |  | 60563.3803 |  | Avoided readmission cost saving (EUR) |  | 774000
| Maximum days saved if malnourished burden was fully alleviated |  |  |  |  | 9084.507 |  | Non funded cost (18% in Belgium if within 10 days) (EUR) |  | 139320
| Cost of extra days due to malnutrition (EUR) |  |  |  |  | 5450704.2254 |  | ICD10 coding (only if applicable)
| NS Needs | [6 empty] | Malnourished hospitalized days - Coded |  | 9084.507
| Patients screened |  |  |  |  | 43000 |  | Malnourished hospitalized days - Uncoded |  | 51478.8732
| At-risk patients |  |  |  |  | 12900
| Malnourished patients |  |  |  |  | 10750 |  | Additionnal DRG revenues (EUR) |  | 2059154.9296
| Patients on nutrition support |  |  |  |  | 10750
| Total NS visits required |  |  |  |  | 32250
| NST - Current situation | [5 empty] | NST - Nutrow situation
| Total time (min) per NS visit - Current situation |  |  |  |  | 30 |  | Total time (min) per NS visit - Nutrow |  | 28.06
| NS visits per day per FTE - current situation |  |  |  |  | 12 |  | NS visits per day per FTE - with Nutrow |  | 12.8297
| NST visits per FTE per year |  |  |  |  | 2400 |  | NST visits per FTE per year - with Nutrow |  | 2565.9301
| Theorical NS visits with current ressources - with usual situation |  |  |  |  | 21600 |  | Theorical NS visits with current ressources - with Nutrow |  | 25980.0428
| Gap - Resources vs Needs (NST visits) |  |  |  |  | -10650 |  | Gap - Resources vs Needs (NST visits) |  | -6269.9572
| Gap - Resources vs Needs (NST visits) |  |  |  |  | -4.4375 |  | Gap - Resources vs Needs (NST visits) |  | -2.4435
| Savings or Investment required (EUR) |  |  |  |  | -288437.5 |  | Savings or Investment required (EUR)
References:
1 | https://www.bapen.org.uk/pdfs/economic-report-short.pdf
2 | https://www.ncbi.nlm.nih.gov/pmc/articles/PMC3084475/
3 | https://www.sciencedirect.com/science/article/pii/S1568163713000627?via%3Dihub
4 | Skouroliakou M et. al. J Am Med Inform Assoc. 2009;16(6):802–805.
5 | https://gcm.rmnet.be/clients/rmnet/content/medias/715114f_antares_etude_2019.pdf
Malnourished only
Malnourished & at-risk
Note on H25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It's very much debatable, new studies found less impact to no impact.
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.