# 🇫🇷 Importing and Selling Veterinary Diagnostic Kits in France – Regulatory Overview

## 1. General Legal Framework

- No IVDR / No CE marking required for veterinary use
In the EU, the IVDR (Regulation (EU) 2017/746) applies only to human in-vitro diagnostic devices. Veterinary tests are not covered, so CE marking is not required.
However, they must comply with general product safety rules and veterinary-specific regulations under the French Ministry of Agriculture (DGAL) and ANSES.

- If the kit contains animal-derived materials (e.g., antibodies, sera, antigens)
The import is subject to border veterinary control through SIVEP/BCP (Border Control Posts). You’ll need a Common Health Entry Document (CHED-A) and the appropriate sanitary certificate.

- If the kit is used for official disease testing (regulated surveillance: ASF, avian influenza, TB, etc.)
In France, such kits must be validated by the National Reference Laboratories (NRLs) at ANSES before being used in official testing.
ANSES maintains updated lists of validated kits per disease.

- International reference (optional but recommended)
The WOAH (formerly OIE) maintains a register of “fit-for-purpose” diagnostic kits. Having a WOAH-listed kit can significantly improve credibility for laboratories or public tenders.

- Chemical / Safety compliance
If the kit contains hazardous substances (preservatives, lysis buffers, etc.):

- Comply with CLP Regulation (labelling and pictograms).

- Provide French Safety Data Sheets (SDS).

- Comply with REACH (importer duties depending on tonnage and substance type).

- Notify UFI/PCN if hazardous mixtures are marketed in the EU.
(These are horizontal chemical-safety rules applicable to any imported mixture.)

- Customs and Border Procedures

- Select a Border Control Post (BCP/SIVEP) authorised for animal by-products.

- Present the goods and sanitary documents at entry.

- If no animal-derived components → no veterinary inspection, but standard customs clearance still applies.

## 2. Importer’s Operational Checklist

### Before Purchase

- ✔️ Confirm whether the kit contains animal-derived components (sera, monoclonal antibodies).

- ✔️ Request full composition details, SDS in French, and sample labels compliant with CLP.

- ✔️ Obtain quality documentation from the Chinese manufacturer (preferably ISO 13485 certified).

- ✔️ Ask for performance data (sensitivity, specificity, LOD, validated matrices).

- ✔️ Check whether the product is listed/validated by ANSES NRLs or WOAH.

### Market-Launch Documentation (France)

- ✔️ Label and instructions in French (intended use, hazards, precautions, storage, expiry, etc.).

- ✔️ Traceability: lot numbers, COA/COC, complaint-handling and recall procedures.

- ✔️ A distribution agreement defining your role as EU importer, including conformity, documentation retention (10 years), and recall responsibilities.

### If Animal-Derived Materials Are Present

- ✔️ Select the BCP/SIVEP entry point and prepare the CHED-A plus the sanitary certificate (in line with the French Order of 5 April 2002).

- ✔️ Verify transport and storage conditions (cold chain if applicable).

### If Used for Official Testing

- ✔️ Check whether the disease is regulated and if ANSES already lists validated kits.

- ✔️ If not, you’ll need to submit the kit for validation by the relevant NRL before it can be used officially.

## 3. Minimum Labelling & Documentation Requirements

Label (in French):

- Product name, reference/lot number, expiry date, storage conditions, quantity

- CLP pictograms and UFI code if hazardous

- Intended use (“For veterinary / professional use only”)

Instructions for Use (IFU):

- Scope of application (species, matrices)

- Performance data (Se/Sp, LOD, interference)

- Step-by-step procedure

- Safety measures and waste-disposal guidelines

Technical File (kept by importer):

- Composition details and SDS

- Performance evidence

- Lot release QC records

- Vigilance system (complaint and recall management)

## 4. Common Scenarios

- ASF / Avian influenza PCR or ELISA kits (official testing) → must be validated and listed by ANSES NRLs, otherwise they cannot be used in official programs.

- Routine veterinary-clinic tests (non-official use) → no IVDR, no CE mark required, but full CLP/REACH compliance and performance documentation are expected.

- Kits with animal antibodies → require SIVEP border inspection and CHED-A upon import.

## 5. 0–90-Day Action Plan

### Weeks 1–2 – Supplier Qualification

- Audit 2–3 Chinese manufacturers (ISO 13485, SDS FR, labelling mock-ups).

- Confirm presence/absence of animal-derived materials.

- Map target diseases and cross-check ANSES/NRL validation lists.

### Weeks 3–6 – Compliance & Logistics

- Finalise French labels + CLP/UFI.

- Choose BCP/SIVEP, prepare CHED-A, define INCOTERM and importer-of-record.

### Weeks 7–12 – Market Launch

- Pilot import of 1–2 SKUs; verify lot QC (COA) and transport stability.

- Implement traceability and vigilance system.

- For official markets, begin NRL validation request if your kits are not yet listed.

## 6. Key Risks

- Rejection for official use if kit not validated by ANSES NRL.

- Border hold if animal-origin components are misdeclared or missing sanitary docs.

- Chemical non-compliance (missing CLP labels, SDS FR, UFI) → fines or withdrawal from market.

- Unsubstantiated performance claims → contractual and reputational risks.

## 7. Next Steps (deliverables I can prepare for you)

If you wish, I can prepare:

- 🇫🇷 Label + IFU templates compliant with CLP, REACH and French language rules

- 🧾 Border-control checklist (CHED-A / SIVEP) for animal-derived kits

- 📊 Disease-wise summary table listing ANSES NRLs and already-validated kits